## civil work (2) (hidden)
DEGOLE SQUARE TO DDON DENATL CLINIC 300MM
PIPE & FITTING INSTALLATION WORK
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
CLASS A: GENERAL ITEM
A21 | Accomodation and equipment for Supervisor
A21 | Provide the following accomodation and equipment for the Supervisor all as described in the Particular Specification
A211.1 | Establishment and removal of temporary site Offices for Supervisor staff 25m2 | LS | 1 | 300000 | 300000
A22 | Service for the engineers staff
A221 | Transport vehicle | mth | 1 | 67500 | 67500
A23 | Equipment for use by the engineers staff
A231 | Provide office furniture for the supervisors site office | LS | 1 | 108000 | 108000
A233 | Provide survey equipment for the Supervisors Site office | LS | 1 | 342000 | 342000
A233.1 | Provision of survey labour for the Supervisor | mth | 3 | 9000 | 27000
A31 | Mobilization |  |  |  | 0
A31.1 | Mobilization and demoblization including establishment of contractors site office | LS | 1 | 300000 | 300000
A32 | Contractural Obligations |  |  |  | 0
A32.1 | Operation and Maintenance manuals | LS | 1 | 75000 | 75000
A32.2 | As built drawings | LS | 1 | 95000 | 95000
A25 | Testing of works
A251 | Pipeline testing and commissioning for the whole work on this line, including all necessary equipment, materials and works necessary for testing, such as thrust and anchor blocks, transportation and use of water, pipe fittings, disposal of used water. | m | 400 | 135 | 54000
A252 | Disinfection of Pipe lines: flushing with clear water, filling with water containing 0.05 g/l calcium hypochlorite, left for 24 hours. This includes supply of all necessary equipment, materials, chemicals and water, measurment of residual chlorine all as specified. | m | 400 | 37.5 | 15000
| CLASS I: PIPE WORK - PIPES |  |  | 0 | 0
| PIPE LAYING |  |  | 0 | 0
| Transport from site store, lay and joint pipes in trench, include for excavation, preparation of surfaces, disposal of excavated material, shoring sides of excavation and backfilling. |  |  | 0 | 0
| Note:- Trench width and minimum cover to pipes is as per the Specification. The cost shall include for strutting, shuttering, stabilizing the earth faces of trenches and keeping the trenches free of water by pumping or other means and cost of use of selected soil from the excavated material for compaction in bed and surround to backfilling of trenches, etc. all as specified |  |  | 0 | 0
I 7 | Cement Mortar Lined PN 16 HDPE Pipes |  |  | 0 | 0
I 732.1 | DN 300 in trench, depth not exceeding 1.5 m | m | 400 | #REF! | #REF!
| Page-total | Carried forward |  |  | #REF! |  |  | I
| Page-total | Brought forward |  |  | #REF!
| CLASS J: PIPE WORK - FITTINGS AND VALVES PN 10 |  |  |  | 0
| LAYING AND JOINTING |  |  |  | 0 |  | 2262
| Transport from site store, lay and joint. |  |  |  | 0
J6 | HDPE Fittings |  |  |  | 0
J61 | Double Socket Bend |  |  | 0 | 0
J612 | ND 200 - ND 300 |  |  | 0 | 0
J613.1 | ND300 |  |  | 0 | 0
J613.1.1 | 11.25° | No | 6 | #REF! | #REF!
J613.1.2 | 22.5° | No | 1 | #REF! | #REF!
J613.1.3 | 45° | No | 2 | #REF! | #REF!
J613.1.4 | 90° | No | 3 | #REF! | #REF!
J62 | Junction and Branches |  |  | 0 | 0
J622.1 | All Flanged Tee (ND 200 - ND 300) |  |  | 0 | 0
J622.1.4 | ND 300 x ND 300 | No | 2 | #REF! | #REF!
J64 | Collar |  |  | 0 | 0
J643.1 | HDPE Collar (ND 200 - ND 300) |  |  | 0 | 0
J643.1.1 | ND 300 | No | 2 | #REF! | #REF!
J37 | Dismantling piece |  |  | 0 | 0
J37.1 | ND300 | No | 1 | #REF! | #REF!
J8 | Valves |  |  | 0 | 0
J81 | Flanged Gate Valve |  |  | 0 | 0
J813 | ND 300 | No | 2 | #REF! | #REF!
| CLASS K: PIPE WORK - CHAMBERS AND PIPEWORK ANCILLARIES |  |  | 0 | 0
| Chambers, ducts, culverts, crossings, thrust and anchor blocks, reinstatement and others as listed and specified in drawings. |  |  | 0 | 0 |  | 30
| Note:- Items for work in this class shall include:- - Excavation, preparation of surfaces, disposal of excavated material, shoring sides of excavation, backfilling and removal of redundant services. - Concrete, reinforcement, formwork, joints and finishes - Tips for disposal of excavated material or debris to be identified by the contractor in liaison with the local authority |  |  | 0 | 0 |  | 4500
K23 | IN SITU CHAMBERS |  |  |  | 0
K23.2 | Ditto- but internal dimensions 1600 x 1200 mm. | No | 2 | #REF! | #REF!
| Page-total | Carried forward |  |  | #REF!
| Page-total | Brought forward |  |  | #REF!
K7 | Reinstatement |  |  | 0 | 0
K74 | Break up, Temporary and permanenet reinstatement of the road |  |  |  |  | 1077
K7342 | Pipe bore 300-600 mm |  |  |  | 0
| Reinstate the existing Walkway excavated for pipe crosing | M | 370 | #REF! | #REF! |  |  |  | 1800
K8 | Other Pipework Ancillaries |  |  | 0 | 0
K86 | Connection to Existing Pipes, ducts and culverts
K862 | Pipe bore 200-300 mm
| Connect to the existing 300mm DCI water supply pipe | No | 2 | #REF! | #REF!
Note:- Items for work in this class shall include:- - dismanteling of the existing pipe, inerting all flanged tee and necessary fittings,welding and any incidential work there too.
| CLASS L: |  |  | 0 | 0
| PIPEWORK - SUPPORTS AND PROTECTION, ANCILLARIES TO LAYING AND EXCAVATION |  |  | 0 | 0
L1 | Extras to excavation and backfilling |  |  | 0 | 0
L11 | In pipe trench |  |  | 0 | 0
L111.1 | Excavation in trench for hard rock | m³ | 3 | #REF! | #REF!
L111.2 | Excavation in trench for soft rock | m³ | 4 | #REF! | #REF!
L12 | In chambers |  |  |  | 0
L121.1 | Excavation of hard rock | m³ | 2 | #REF! | #REF!
L121.2 | Excavation of soft rock | m³ | 4 | #REF! | #REF!
L5 | Imported Selected Fill (Provisional) |  |  | 0 | 0
L53 | Provide, transport to site and place imported selected fill and compact in bed and surround to pipes as specified. |  |  | 0 | 0
L532 | To pipes nominal bore: 200 - 300 mm | m | 400 | #REF! | #REF!
L7 | Concrete support, thrust blocks and anchor blocks NOTE:- The work includes fixing of supplied pipes and fittings |  |  | 0 | 0
L7 2&3 | Volume:- 0.1 - 0.5 m³ |  |  | 0 | 0
L723 | To pipes nominal bore: 300 - 600 mm | No | 6 | #REF! | #REF!
L74 | Volume:- 0.5 - 1.0 m³ |  |  |  | 0
L743 | To pipes nominal bore: 300 - 600 mm | No | 2 | #REF! | #REF!
L75 | Volume:- 1.0 - 2 m³ |  |  |  | 0
L753 | To pipes nominal bore: 300 - 600 mm | No | 1 | #REF! | #REF!
| Total |  |  |  | #REF!
| Total Carried to Summary |  |  |  | #REF!

## SUMMARY
Pipe Balance
NO | Summary of Works | Supplied | Executed | Return | pipe on site | Remark
A | Degole 300 mm HDPE Pipe | 413 | 390 | 23 | 18 | ok
B | Karl- Minaye 200 mm | 1522.5 | 1400 | 122.5 | 36.5 | 86
C | Oromia Gibson 250mm | 1130.95 | 1040 | 90.95 | 51 | 39.95
D | Rufael to Medhanialem 200 | 1264 | 1155 | 109 | 60 | 49
E | Ambassador, 350mm | 1599 | 1577.6 | 21.4 | 0 | 21.4
#DIV/0!