## Slide 2: Microscopy
Light microscopy resources
www.microscopyu.com
https://www.olympus-lifescience.com/en/microscope-resource/(click on “Microscopy Resource Center”)
https://www.leicabiosystems.com/knowledge-pathway/
https://www.zeiss.com/microscopy/us/home.html

## Slide 3: Transmission / brightfield microscopy
Brightfield

## Slide 4: Phase contrast microscopy
Brightfield
Phase contrast

## Slide 5: Phase contrast microscopy
Brightfield
Differential
Interference
Contrast
(DIC)
(beyond the scope here)
Phase contrast

## Slide 6: Fluorescence
Wide range of fluorescent molecules
Early examples: fluorescein / rhodamine
Modified versions: Texas Red, Alexa
Semiconductor / quantum dots
Hybrids: Brilliant™ series from BD

## Slide 7: Fluorescence microscopy

## Slide 8: Fluorescence microscopy / Immunohistochemistry
Biomolecular identity provided by tagging with fluorescent molecules
antibodies; the most robust, molecule specific system around
specialized molecules; phalloidin binds f-actin
these require fixation (killing) and staining of cells
Vital dyes
compounds that can enter live cells

## Slide 9: Contemporary fluorescence microscopy
Molecular identity
Molecular conformation / activity / state
High sensitivity – single molecule
Multicolor
However, limits on resolution

## Slide 10: Green Fluorescent Protein
Chalfie, M., Tu, Y., Euskirchen, G., Ward, W., Prasher, D.
Science 263(5148):802-5 (1994)
photo attributed to Osamu Shimomura

## Slide 11: Cellular structures are small

## Slide 12: Spatial limits to light
Airy disk
  spread of point function on imaging through finite lens.
  dependent on wavelength of light () and numerical aperature (NA = n*sin()).
Resolution = /(2*NA)
  NA in range of 0.9 – 1.45
  limit of ~200 nm.

## Slide 13: Diffraction limit
Notes: http://www.microscopyu.com/articles/superresolution/diffractionbarrier.html

## Slide 14: Fluorescence microscopy – digital imaging

## Slide 15: Deconvolution
Notes: http://www.microscopyu.com/articles/superresolution/diffractionbarrier.html

## Slide 16: Diffraction limit
Notes: http://www.microscopyu.com/articles/superresolution/diffractionbarrier.html

## Slide 17: Single molecule imaging
Least square fit to Gaussian
Localization precision
  q = size of pixel; N = # of photons
  s = stdev of dist; b = stdev of background

## Slide 18: Photoactivated Localization Microscopy (PALM / FPALM)
Work around spatial overlap of PSF by turning on fluorophores sequentially.
  Activate subset of fluorphores (photoconversion)
  Image (fluorphores bleach)
  Compute locations, add to emerging image
  Repeat
Requires high sensitivity sensor, fine control of activation light and balance of fluorophore concentration.
Notes: Hess, S.T., et al. (2006) Ultra-high resolution imaging by fluorescence photoactivation localization microscopy. Biophysical Journal, 91, 4258-4272.

## Slide 19: 3D – manipulation of point spread function
The PSF is sharpest when fluorophore is at focal plane, gets wider above or below that plane.
Additional optics can use this blurring to determine z-position.
Cylindrical lens is the simplest
Notes: Nature Methods 9, 185–188 (2012)

## Slide 20: Out of plane light is problematic

## Slide 21: Out of plane light is problematic
widefield
(epifluor)
confocal
tissue
section
muscle fibers
pollen grain
Notes: http://www.olympusmicro.com/primer/techniques/confocal/confocalintro.html

## Slide 22: Confocal – rejection of out-of-plane

## Slide 23: Scanning confocal – confinement of illumination
  Smallest spot achieved with laser
  Serial process
  Slow
  Intense light
  Resonant techniques help

## Slide 24: Out of plane light is problematic
widefield
(epifluor)
confocal
tissue
section
muscle fibers
pollen grain
Notes: http://www.olympusmicro.com/primer/techniques/confocal/confocalintro.html

## Slide 25: Multiphoton
Certain dyes respond to multiphoton excitation
Excitation often goes as intensity^2
Less photobleaching
Longer wavelength excitation (IR)
  better penetration into tissues, mm
  larger focal point than shorter wavelength

## Slide 26: https://www.janelia.org/lab/betzig-lab

## Slide 27: Light sheet microscopy
Exciting only a plane of a sample takes advantage of modern 2D imaging sensors (CCD, sCMOS) while minimizing exposure.
Sample is stepped or rotated relative to illumination

## Slide 28: Generating a light sheet
Bessel beam

## Slide 29: Unusual configuration

## Slide 30: Stimulated emission depletion: STED
Laser with wavelength in emission of fluorphore “deactivates”
Concentric lasers, scanning configuration
Resolution down to 50 nm (x-y)
3D confinement also possible (100 nm)
Notes: Stefan Hell; Hell, S. W.; Wichmann, J. (1994). "Breaking the diffraction resolution limit by stimulated emission: Stimulated-emission-depletion fluorescence microscopy". Optics Letters 19 (11): 780–782.

## Slide 31: Stimulated emission depletion: STED
confocal
STED
Notes: Stefan Hell; Hell, S. W.; Wichmann, J. (1994). "Breaking the diffraction resolution limit by stimulated emission: Stimulated-emission-depletion fluorescence microscopy". Optics Letters 19 (11): 780–782.
Configuration Image from review by Ishikawa-Ankerhold et al.: Molecules 2012, 17(4), 4047-4132
Comparison from Biomedical Microscopy Core University of Georgia

## Slide 32: Total Internal Reflection microscopy
Notes: Only works for on-axis light

## Slide 33: Total Internal Reflection microscopy
Notes: Only works for on-axis light

## Slide 34: Total Internal Reflection microscopy
YAG substrate (n=1.8)
SiO2 layer (8.6 nm thick, n=1.5)
Notes: Only works for on-axis light